Title: Separation of Wool Proteins

Subject Area: Biochemistry

Date: Tuesday, June 20, 2006

Presenters:

Dr Kathy Schuller, Associate Head of Faculty (Teaching and Learning), Senior Lecturer in Biochemistry, Research projects in (a) anti-malarial drug development, (b) human health benefits of natural antioxidant-fortified seafood.

Ms Melissa Gregory, Bachelor of Biotechnology (Hons.), PhD candidate, Research project in human health benefits of natural antioxidant-fortified seafood

Background to the experiment:

- Wool is comprised of 50-100 different proteins, representing 14 different protein families.

- Keratin is the major protein found in wool.

- Sodium Dodecyl Sulphate-Polyacrylamide Gel Electrophoresis (SDS-PAGE) can be used to separate mixtures of proteins.

- SDS-PAGE separates proteins according to their molecular weight (the size of the protein).

Methods:

Preparation of wool samples:

- Add 20 mg of wool (cut into small pieces) to 5 mL of SDS-PAGE Sample Buffer.

- Boil sample for at least 2 min in water bath (denatures the proteins).

- Place in 50(C shaking incubator for 24 h.

Preparation of the SDS-PAGE:

- Assemble gel apparatus and secure on pouring stand.

- Pour the resolving gel and allow it to set (approx 15 min).

- Pour the stacking gel, insert comb and allow it to set (approx 10 min).

- Remove the comb and wash wells with running buffer.

- Assemble gel apparatus to fit into the chamber and fill the chamber with running buffer.

- Load 5 (l of the molecular weight marker and 10 (l of the samples (dyed wool, non-dyed wool and natural wool) into the wells.

- Run gel at 170 V until the sample is 0.5 cm from the base of the gel (approx 40 min).

- Remove gel and stain in Coomassie Blue-R250 overnight.

- Destain for as long as necessary with at least three changes of the destain solution.

- Photograph the gel and observe the size of the wool proteins.

Determination of the size of the wool protein bands:

- Measure the length each molecular weight marker has traveled down the gel.

- The Rf value can be determined by measuring the length the band has traveled down the gel divided by the total length of the gel.

- The Rf value for each of the standard proteins can be graphed against the log of the molecular weight of the proteins to obtain a standard curve.

- Fit a straight line through the points and determine the equation of the line.

- The molecular weight of the unknown protein bands in the wool samples can be determined by using their Rf values and the equation of the line.

Materials:

SDS-PAGE Sample Buffer (for 10 mL):

- 1 mL 0.5 M Tris-HCl (pH 6.8)

- 2 mL 10% (w/v) SDS

- 1 mL glycerol

- 0.05 mL 400 mM EDTA

- 0.077 g DTT

- 7.21 g Urea

- A few grains of Bromophenol Blue

- Distilled water to make up to 10 mL

10% Resolving Gel (10 mL):

- 4 mL Distilled water

- 2.5 mL 1.5 M Tris-HCl, pH 8.8

- 0.1 mL 10% (w/v) SDS

- 3.34 mL Acrylamide-Bis (30%:0.8%)

- 0.04 mL TEMED (under fumehood)

- 0.05 mL 10% (w/v) Ammonium persulphate – ADD LAST

4% Stacking Gel (5 mL):

- 3 mL Distilled water

- 1.25 mL 0.5 M Tris-HCl, pH 6.8

- 0.05 mL 10% (w/v) SDS

- 0.67 mL Acrylamide-Bis (30%:0.8%)

- 0.01 mL TEMED (under fumehood)

- 0.025 mL 10% (w/v) Ammonium persulphate – ADD LAST

Running Buffer (per litre):

- 14.4 g Glycine

- 3 g Tris-base

- 10 mL 10% SDS

# Text boxes

GPO Box 2100

Adelaide 5001 Australia

Telephone:	(+61 8)	8201 2031

Fax:	(+61 8)	8201 3015

Email:	kathy.schuller@flinders.edu.au

School of Biological Sciences

Faculty of Science and Engineering