## Slide 1
CSI

## Slide 2: Analysis of living and dead sperm
The following tutorial shows you:
how to identify and count living and dead sperm stained with the vital dye Eosin-Nigrosin.
How to calculate percentage living sperm
Finally you are provided with images of sperm from the 24h time point and you have to:
calculate the percentage living sperm in the control and Go-Sperm treatments and insert these in table 1

## Slide 3
Eosin/nigrosin stain to detect living and dead Ram sperm
In normal light microscopy
Dead sperm stain purple (arrows), living sperm are greyish blue.
White dots are droplets associated with sperm development that are discarded as they move through the male system.
Dark purple spots are granules of the stain.

## Slide 4
Here we are looking at the same field of sperm as in the previous slide
and using a fluorescence microscope. The eosin-nigrosin stain that shows up purple in the sperm heads of dead sperm under white light (Bright field microscopy) is easier to see under UV light as the ‘dead heads’ fluoresce red or golden in the sperm head under ultraviolet light. In living sperm there is not much fluorescence in the sperm head. Note that half of the sperm tail,
called the midpiece, fluoresces golden in living and dead sperm
Note too the white arrows show the same dead sperm as seen the previous slide

## Slide 5
Below are examples of living and dead sperm as seen using a fluorescence microscope. The red and golden fluorescence indicating dead sperm is easier to detect than the purple stain under bright field.

## Slide 6
102 dead sperm

## Slide 7
172 live sperm

## Slide 8
So if you count 102 dead sperm and 172 live sperm the total sperm in the
Field of view is 102 + 172 = 274.
The percentage living (viable) in this case are : 172/274 x100 =62.7 i.e. close to 63%

## Slide 9
Control treatment 24 h

## Slide 10
Go-Sperm treatment 24 h

## Slide 11: CASA Data
The moving sperm appear to have two tails! This is just a glitch in the movie software.