## Slide 1: EVALUATION OF EATING QUALITY
Measurement can be made either:
Objectively, by machines/in lab
Subjectively, by humans
There are advantages and disadvantages with both options

## Slide 2: OBJECTIVE MEASUREMENTS
Advantages
Consistent, cheap, repeatable, reliable, not influenced by human preference
Disadvantages
Can provide only an estimate of physical or chemical properties of meat - not able to incorporate sensory component of eating quality

## Slide 3: SUBJECTIVE EVALUATION
Advantages
Get a sensory evaluation, consumer preferences
Disadvantages
Time consuming, expensive, huge variation (b/w & w/in individuals), influence of irrelevant factors

## Slide 4: Assessment of Meat Tenderness (Objective)
When consumers eat meat they perform several actions
  a biting, shearing action
  a squeezing compression action
  a stretching tearing action
A number of methods have been developed to objectively measure these actions

## Slide 5: Assessment of Meat Tenderness (Objective)
The two main methods used are
Shear force
Compression
These require that the meat to be assessed is prepared in a standard way.

## Slide 6
Standardisation of samples

## Slide 7: Sample blocks

## Slide 8: Assessment of Meat Tenderness (Objective)
(Warner Bratzler) shear force
  measures kg force needed to shear across the fibres with a blunt blade
  Initial yield -a measure of the connective component of toughness
  Peak force -measures mainly the myofibrillar component of toughness

## Slide 10: Shear force

## Slide 11
Distance
Force
Shear
Force
Shear Force Test
Modified Warner-Bratzler
Related to myofibrillar
toughness

## Slide 12: Assessment of Meat Tenderness (Objective)
Compression
  assesses the elasticity of the connective tissue

## Slide 13: Compression

## Slide 14
Compression

## Slide 15
Hardness
Work 1
Work 2
Compression = Hardness x Work 2
Work 1
Compression Test
Related to connective tissue
toughness
Time
Force

## Slide 16: Adhesion

## Slide 17: Other aspects of eating quality
Juiciness
Flavour
Juiciness and Flavour are best assessed by humans. We have no reliable objective measure for these.

## Slide 18: Flavour
“Meat flavour” per se resides in the water-soluble fraction of meat. Essentially the same for all species
“Species-specific” flavours are localised in the fat fraction. Little information on their chemical basis.

## Slide 19: Juiciness
Contributes 10-40% of texture variability
Difficult to measure objectively
Only reliable and consistent measure is sensory (taste panels)

## Slide 20: Juiciness
Two components
The impression of wetness during the first few chews - rapid release of fluids from the meat
Sustained juiciness, apparently caused by the stimulating effect of fat on the production of saliva, coating of fat on various regions of the mouth

## Slide 21: Other meat quality traits
Water holding capacity
  cooking loss
  drip loss
Meat colour
ultimate pH
intramuscular fat

## Slide 22: Water Holding Capacity
WHC contributes to drip loss, cooking loss and juiciness, raw meat colour, cooking time
In fresh meat WHC is affected by pH, time, temperature and exposure

## Slide 23: Colour and pH measurement

## Slide 24: Intramuscular fat
Marbling fat
  Chips (Ausmeat, US, Japanese)
Chemical fat within the muscle tissue
  Solvent extraction
  NIR
Contributes to flavour, juiciness and mouth feel, cooking time, maybe tenderness.

## Slide 25
Soxhlet - solvent fat extraction

## Slide 26
NIR
Near infra red spectrophotometer