## Slide 1: WOOL 372/472/572 Wool Biology/Metrology
Topic 9
Fibre Diameter
Trevor Mahar

## Slide 2: Fibre Diameter is the most important Raw Wool parameter

## Slide 3: Finer wool is more expensive

## Slide 4: Traditional assessment of fibre fineness was based on quality number

## Slide 5: Objective Measurement has replaced subjective assessment
Objective measurement:
  provided an independent basis for trade
  improved reliability of specification, especially for wool tops
  4 major methods of measurement
  Projection Microscope
  Airflow
  Laserscan
  OFDA

## Slide 6: Projection Microscope - the fundamental, direct method for measurement of Fibre Diameter - IWTO-8 - relatively slow & operator dependent

## Slide 7: Airflow - most common measurement system - air flow through a fibre mass is related to surface area of fibres - relies on calibration from PM - IWTO-6 (tops) & IWTO-28 (Raw Wool)

## Slide 8: Laserscan – sophisticated opto-electronic device - measures approx. 2mm fibre snippets - reports mean & distribution data - calibrated from PM - IWTO-12 - operator independent, precise, accurate & quick

## Slide 9: OFDA – sophisticated opto-electronic device - measures approx. 2mm fibre snippets - reports mean & distribution data - calibrated from PM - IWTO-47 - operator independent, precise, accurate & quick

## Slide 10
PM relatively imprecise in between laboratory (Interwoollabs) trials

## Slide 11: Standard Deviation is a measure of the spread of a distribution

## Slide 12: Sources of Variation in Fibre Diameter
Fibre cross-sectional shape
Along fibre
Amongst fibres in a staple
Amongst staples on a sheep
Amongst sheep in a mob
Amongst Sale Lots in a Processing Consignment

## Slide 13: Irregular wool fibre cross sectional shape contributes to variation in measured fibre diameter
Effect of ellipticity of 1.2

## Slide 14: Example of along-fibre variation in diameter

## Slide 16
19.0
19.1
19.5
18.8
18.5
18.9
19.4
18.9
19.8
Variation amongst sites on a sheep

## Slide 18: Relationship between MFD & SD for individual fleeces

## Slide 19: Relationship between MFD & SD for individual Sale Lots (& individual fleeces, for reference)

## Slide 20: Relationship between MFD & SD for individual consignments (& individual Sale Lots, for reference)

## Slide 21: Measurement of individual sheep
Test house
  Laserscan or OFDA100
On-farm
  Fleecescan
  OFDA2000

## Slide 22: Fleecescan - “portable” Laserscan - Minicore each fleece, clean & measure snippets

## Slide 23: OFDA2000 - portable instrument mounted in custom-built case - measures individual fibres within “microstaples” - measures greasy or clean - 1 “microstaple” per sheep - produces diameter profile of staple

## Slide 24: Comparison of Precision - Fleece Testing Absolute value of 95% CL
 | Fleece | Midside |  | 
 | Fleecescan | OFDA 2000 | OFDA 100 | Laserscan
MFD (µm) | 1.17 | 1.24 | 1.05 | 1.04
SD (µm) | 0.7 | 0.5 | 0.5 | 0.6
CVD (%) | 3.4 | 2.2 | 2.4 | 2.9

## Slide 25: Summary - Fibre Diameter most important property of wool - 4 standard methods available for measurement: - Projection Microscope - Airflow - Laserscan - OFDA - sources of variation in measurement have been identified - sampling schedules established to provide precise & accurate measurements of Mean & variation in Fibre Diameter